SYCLOSPOT LP 18

High lumen output and low energy consumption spotlight. The SYCLOSPOT 18W Led is equivalent to a 90W Metal Halide framing projector.

Fixed commutable optical lenses , beam angle 22° or 40°.

230 Volts direct power supply.

Several mounting possibilities : 3 circuits track adaptor, hook mounting, wall mounting or tieback mounting.

Tilt angle 200° - azimuth 365°.

Holding positions by friction and locking screw.

Handle free.

Integrated magnetic filter holder.

Optional barn-doors.