ARTCAD

Low energy consumption framing projector. The Artcad 13W is equivalent to a 50W halogen framing projector.
3 interchangeable fixed optical lenses.
4 removable framing shutters.
Rotatable optical head.
Tilt angle maintened by side locking knob. Integrated filter holder.
Integrated Gobo holder.