**SYCLOSPOT LP 25**

**High lumen output and low energy consumption spotlight.**

**Fixed commutable optical lenses , beam angle 22° or 40°.**

**230 Volts direct power supply.**

**Several mounting possibilities : 3 circuits track adaptor, hook mounting, wall mounting or tieback mounting.**

**Tilt angle 200° - azimuth 365°.**

**Holding positions by friction and locking screw.**

**Handle free.**

**Integrated magnetic filter holder.**

**Optional barn-doors.**